## Slide 1: Power Tools
Steven Li
Oct 2017

## Slide 2: Littelfuse Overview

## Slide 4: Protect Ι Control Ι Sense — A Global Approach
Sense
Sensing technologies are increasingly used to support complex electronic systems
Broad platform of technologies help improve product performance, comfort, convenience and safety
Protect
Today’s sophisticated electronics require greater protection from ESD, power surges and other occurrences
Handle more power in smaller products
Innovative circuit protection solutions
Control
Safely and efficiently control power in even the harshest environments
Limit equipment damage and minimize electrical hazards
Improve productivity and reduce costs

## Slide 5: Product Portfolio

## Slide 6: Product Portfolio
http://www.littelfuse.com/about-us/business-overview-video.aspx

## Slide 7: Product Portfolio

## Slide 8: Product Portfolio

## Slide 9: Power Tools Class

## Slide 10: Hand-Held Electric Motor Operated Tools (IEC60745-1/GB3883-1)
Power Tool by Electrical Protection Mode:
Class I Tool: conventional electric tools,rated voltage exceed 50V. Plug for single phase 3 wires plug type tool.
Class II Tool:electrical tools with double insulated structures. Rated voltage exceed 50V.Class II Tool has no grounding system with insulated enclosure design.Plug for 2 wires plug type tool. More Popular
Class III Tool: A safety voltage tool. Rated voltage is less than 50V.

## Slide 11: Wide range of protection & sensing solutions addressing portable & robotic devices
Functional Unit
Battery & BMS
Charger or With Wire
AC power compliance & safety
Safety interlock solutions (magnetic)
DC interface surge protection
ESD protection of displays/indicators
Disconnect on demand for without wire *
Magnetic speed sensors
Magnetic trigger mechanisms
Power MOSFET thermal protection
DC Motor Protection
AC Motor Phase Control
ESD protection of user interfaces
Over-temperature (OT) indicators*
DC power protection (OC & OV)
Charger–Battery com. Line (CAN Bus) protection
Battery sense/balance line protection
Safety interlock solutions (magnetic)
Module/Cell critical OT detection*
Cell level overcurrent (OC) protection*
ESD protection of displays/indicators
Disconnect on demand *
Charger
FlexVolt 20 to 60V
With Wire

## Slide 12: Littelfuse has solutions for all functional blocks of power tools device
L
N
G
Motor
Drive
Gate
Driver
Motor
Power Supply
MCU
Control
AC or DC motor drive
LED indicator
Battery Pack/BMS
Power
Control
Unit CC/CV
Battery
Pack S/P
LED indicator
T°
T°
Charger or With Wire
Cell
Voltage/
Temperature
Monitoring
Balancing
Sn
Sn-1
S1
Sensing lines
Output
Power Supply
ON/OFF Trigger
Continuous Trigger
Displays/Indicators
User Interface
T°
T°
Intput
LED Lights
LED Driver
Chipset

## Slide 13: Power Input Unit

## Slide 14: Power Face OV threat
Overvoltage Sources in Power System
Lightning induced Transient
Power Internal Sources(include
Power Fault Event,GPRs, Surge Coupling ect)
Overvoltage Cause potential damage
    System abnormal working
    System damage
    Load fault or damage
    Potential personal injury

## Slide 15: (with reference to IEEE C.62.41-2002)
Category A: parts of the installation at some distance from the service entrance
Category B: Between Cat A and Cat C
Category C: External part of structure, extending some distance into the building.
Power meet surge protection standard

## Slide 16: IEC61000-4-5 Standard
1.2/50us Voltage Waveform
8/20us Current Waveform

## Slide 17: Overvoltage Product Family

## Slide 18: GDT/SIDACtor/MOV/TVS comparison
Technology
SIDACtor
GDT
MOV
TVS
Response Time
Fastest
Slowest
Slower response time
Fast
Capacitance
Low
As low as 1pF
High
Higher
Current surge rating
High
As high as 500A for 200 impulses
High
Low
Electrical Characteristic
Stable
Degrade with time
Fatigue after multiple pulses
Stable
Application
Principle over-voltage in telecom, datacom circuit
Telecom applications
Useful in AC applications
Secondary protection

## Slide 19: CC/CV charger(Without Wire)
L
N
G
AC Input
Protection
Charger
LED indicator
MCU
Charger
+V
-V
T°
I/O Connector
Sensing lines
Input Connector
ID
Fault detection
PWM
Controller
Snubber
1
Technology | Series
Fuse | 835, 215 Series , TR5 Series(382)
MOV | TMOV, UltraMOV
2
Technology | Series
Diode | DSTxxxC MBRF10xxCTL
3
Technology | Series
TVS Diode | SMAJ, SMBJ
1
3
2
2

## Slide 20: OC/OV Unit with Wire
Rectifier
PFC
OC/OV
Input
Voltage
EMI
Filter
L
N
PE
120Vac/220Vac
Cable
or
DC Brush or Brushless Motor Drive
1
3
Input Connector
2
1
Technology | Series
Fuse | 835, 215 Series , TR5 Series(382)
MOV | TMOV, UltraMOV
GDT | CG3 OR DC Spark 470V
2
Technology | Series
Diode | DSTxxxC MBRF10xxCTL
3
Technology | Series
TVS Diode | SMBJ, SMCJ

## Slide 21: Battery Pack protection

## Slide 22: BMS Sense Line face Risk
Consider Battery Pack Assembly and Application Scene.
e.g. Sense line short at Test Assembly
e.g.Wire Harness Wear
e.g.Pack water seepage
That could cause the C0(highest voltage Line) and Cn(Lowest voltage Line) short.That means huge risk to Battery Pack.
Thus,BMS will perform the worst test---Wire harness put in salt water---once C0 and Cn line shot,Battery Pack will explode
Salt Water

## Slide 23: BMS Component failure => Battery Pack Thermal runaway
Certain failures associated with external components can lead to unsafe conditions in electronic modules. A good example of this, is component that is connected between high energy signal source failing short . Such kind of condition can easily lead to the component overheating and damaging the board and other components in its proximity. One area to consider with BMS design, is the capacitors are normally protected by series protection resistors but could present a safety hazards in event of dual point of fault where both capacitors and associated series resistors fail short . In some cases, common mode capacitors are directly connected to cell without series resistance for EMI purpose optimization , in this case a single fault event could lead to catastrophic damage on BMS. A dual point of failure in balancing resistance and associated Balancing MOSFET could also rise to a shorted cell condition .
SMD fuse in series with sensing lines must be located as close as possible to the input connector . In case of single short circuit or dual point of fault event, the the voltage across fuse can be as much as 12 to 14 cells in series which usually below 60V .
Lithium-ion Battery chemistry is highly temperature sensitive , due to the proximity of BMS board and battery pack , any potential overcurrent or overload condition on BMS board can lead to local overheating or hot spot , therefore upstream fuse protection must be considered regarding safety standpoint

## Slide 24: Several failure modes need to be considered when implementing battery safety circuitry
Vibration, Shock & Drop
Over temperature
Short circuit or fast charging
Internal battery cell defects can amplify any & all battery stress factors
Electrical overstress
External thermal stress
Mechanical stress
Cell venting
Uncontrolled thermal event
Fault causes
Li –ion battery
  Note: In some cases it can be very difficult to identify manufacturing defects as part of standard quality control processes.
Littelfuse risk reduction
Mechanical failure
Fault manifestation

## Slide 25: Battery pack protection & BMS
Battery Pack High current fuse
Battery Com. Line ESD Protection
IC Transient spike protection with TVS diode
Technology | Series
Fuse | 688 series or Mega Series base
SMD Fuse | 881 Series 1206SFH 463 Series
3
Technology | Series
BMS Com Line | SPA(SM24CAN)
2
Technology | Series
TVS Diode | SMF,SMAJ, SMBJ
1
BDU
1
High or low power path, protection is needed to meet safety requirements
3
2

## Slide 26: AC /DC Motor protection

## Slide 27: Motor Drive Power tool (BLDC example)
Technology | Series
HC SMD Fuse (24V up to 72V) | 1206SFH 456/463 series
VHC SMD Fuse (70V) | 881 Series
DC Cartridge Fuse | 688 Series
Technology | Series
SMD Thermal Fuse | HCRTP mini
3
Technology | Series
TVS Diode | SMAJ, SMBJ
3
1
1
2
2
Technology | Series
I2C Line | ESD Protection
4
5
5
4
Technology | Series
Reed switch | MDSR-10
Technology | Series
Hall Effect Sensor | 55100
6
6
Speed measurement
Contamination and wear-out resistant switching and controls => magnetic swtiching
suction control

## Slide 28: AC Motor Protection
Fuse Selection
  General considerations
    Voltage rating
    Interrupting rating
    Re-rating for ambient temperature
  Steady state analysis
  Cycling analysis
  Transient analysis
    Transient overloads are typically high current, short duration events.
    Motor start-up, light bulbs, etc.
MOV Selection
AC Motor protection is the surge withstand capability of the motor itself Paragraph 2036.4 of NEMA motor generator standard MG-1 define a unit value of surge as:0.816xV L-L for transient rise time of 0.1~0.2us,twice the unit value of surge capability is required on stator windings.When rise times reach 1.2us or greater,4.5 times the unit value is stipulated.In the case of external transients such as lightning,this would equate to a surge voltage capability.Since lightning surge can exceed these values, a suppression element would be required to protect the stator windings.

## Slide 29: MOV energy for 8/20 surge and AC follow on
For the MOV, normally we calculate its go-through energy to confirm if the MOV rating is sufficient or not.
For Example; the total current energy through MOV V20E130P is 3kA 8/20 plus the 43A half cycle AC current. So the total energy is
Energy=K*Vc*Ipp*t
0.637 x 250 x 3000 x 20x10-6 + 0.637 x 250 x 43 x 0.01 =9.56+68.48=78.04J. ( K =0.637 for sine wave )
This value is less than V20E130P 100J datasheet specification. You also can use two V20E130P parallel connect for more surge buffer.

## Slide 30: AC Motor Control
M
Res
C
Vline
Triac control
Motor Speed Control Circuit
240VAC
∿
Motor
Tachometer Signal
High Power Anti-Parallel SCR Circuit
Current Rating = 1.4 x SCR Current Rating
(e.g. 70A SCR  98A Current Rating)
Opto-Isolated Triac

## Slide 31: DC Motor Drive Circuit
Back EMF Protection
MOSFET gate Protection

## Slide 32: Overall Littelfuse Power tools product overview summary

## Slide 33: Littelfuse’s system level approach is to help OEM’s make equipment safer and more reliable
Functional block | Circuit type | Function | Littelfuse Product Series | 
Charger or AC Power | Power Supply AC | Lightning Surge, induction spikes protection | Varistor (MOV) | TMOV, UltraMOV,
 |  | Power Fault/Short Circuit | Cartridge Fuse | 835, 215 , TR5 Series
 | LED indicators | ESD protection | Varistor (MOV) | MLV Series
 | DC output Protection | Battery Disconnect | On Demand Disconnect | Breaker
 | Contamination resistant interlock | Battery Pack locking detection | Reed Switch | 
Battery | DC input Protection | Battery Pack Over current protection | Blade Fuse or SMD Fuse | Midi Fuse/1206SFH/ 881 Series (SMD)
 |  | Over Voltage protection | TVS diode | 600W,1500,3000W Series
 | Contamination resistant interlock | Battery Pack locking detection |  | 
 | Cell/Pack Protection | Over current for multi-strings configuration | Strap PTC | VL,VT Series
 |  | Over temperature indication | PTC, NTC | PPTC
 |  | Large cell over temperature indication | zPTC | R&D program
 | DC output Protection | Sensing /Balancing lines protection | PTC or Fuse | nanoSMDC016/48 or nanoSMDC010F ,,466,440 438 Series
 | LED indicators | ESD protection | SPA,MLV | 0201,0402,0603 Series
 | Sensors | Battery Pack locking detection | Reed Switch | 
Main Unit | Motor | MOSFET Over temperature Protection | Thermal Fuse | HCRTP mini
 |  | Motor Over temperature detection | zPTC | R&D program
 |  | Speed measurement | Hall Sensor + Magnet | 
 |  | MOSFET EOS Protection | SPA | SD,SM series,SMF series
User Interface | Activation Triggers | ON/OFF/Gradual | Hall sensor | TMR sensor*R&D program
 | Displays & Indicators | ESD and surge protection | ESD protector | MLV Series
 | Wireless communication | ESD and surge protection | ESD protector | TVS Diode

## Slide 34: Testing Capabilities
http://www.littelfuse.com/about-us/business-overview-video.aspx
http://www.littelfuse.com/~/media/files/littelfuse/technical-resources/documents/capabilities-brochures/littelfuse_global_labs_brochure.pdf

## Slide 35: Thank you!